Disposable Visor

Directions For Use

To reduce contamination, store in the original plastic bag until use. This visor is single use and must be disposed of in the appropriate waste stream after use. It is not intended to be cleaned and cleaning products may cause deterioration.

One size fits all. 33cm x 23cm. Non-sterile.

Not for impact protection.

Made at Makespace Cambridge Ltd.  for Cambridge University Hospitals

Contact Clinical Engineering Innovation for more information

Box 152

Cambridge University Hospitals

NHS Foundation Trust

Hills Road

Cambridge

CB2 0QQ

cei@addenbrookes.nhs.uk

01223 216719

Appendix

Existing product’s label

Disposable Face Shield

DIRECTIONS FOR USE: This product is designed and intended only as a shield of the face to avoid liquid splashing or splattering. This is a single use product. Dispose of Product after use.

One Size fits all. NON-STERILE. SIZE: 33cm x 23cm

THIS PRODUCT IS NOT CE-MARKED. IT IS ONLY FOR USE DURING THE COVID-19 OUTBREAK

Requirements for content:

Manufacturer's instructions and information

In addition to the name and address of the manufacturer, the instructions that must be supplied with the PPE must contain all relevant information on:

- instructions for storage, use, cleaning, maintenance, servicing and disinfection. Cleaning, maintenance or disinfectant products recommended by manufacturers must have no adverse effect on the PPE or the user when applied in accordance with the relevant instructions;

  - To reduce contamination, store in the original plastic bag until use. This visor is single use and must be disposed of in the appropriate waste stream after use. It is not intended to be cleaned and some cleaning products may cause deterioration.

- performance as recorded during relevant technical tests to check the levels or classes of protection provided by the PPE;

  - One size fits all. 33cm x 23cm. Non-sterile.

- where applicable, accessories that may be used with the PPE and the characteristics of appropriate spare parts;

  - none?

- where applicable, the classes of protection appropriate to different levels of risk and the corresponding limits of use;

  - not for impact protection.

- where applicable, the month and year or period of obsolescence of the PPE or of certain of its components;

  - Not sure what would expire?

- where applicable, the type of packaging suitable for transport;

  - N/A

- the significance of any markings (see point 2.12);

  - N/A

- the risk against which the PPE is designed to protect;

  - For protection against flying respiratory droplets and liquid splashes,

- the reference to this Regulation and, where applicable, the references to other Union harmonisation legislation;

  - Conforms to the intent of PPE Regulation EU 2016/425

- the name, address and identification number of the notified body or bodies involved in the conformity assessment of the PPE;

  - N/A

- references to the relevant harmonised standard(s) used, including the date of the standard(s), or references to the other technical specifications used;

  - N/A

- the internet address where the EU declaration of conformity can be accessed.

  - ?

The information referred to in points (i), (j), (k) and (l) need not be contained in the instructions supplied by the manufacturer if the EU declaration of conformity accompanies the PPE.