# Label Content

# Product Label

- For each product

Full Face Shield

Personal Protective Equipment

Non-sterile, disposable

MS-yy/mm/dd-’Initials’

Clinical Engineering, Box 152, Addenbrooke's Hospital, Cambridge, CB2 0QQ

# Shipping Label

- For each box of product

Full Face Shield x 24

Packed on: yy/mm/dd

By: “Initials”

Manufactured for: Clinical Engineering, Box 152, Addenbrooke's Hospital, Cambridge, CB2 0QQ

Shipping Address

# Non-Conformance Label

- An additional label for boxes of product where some or all of the products carry an increased risk of contamination with COVID-19 due to some non-conformance with the Manufacturing SOP

Full Face Shield x 24

Packed on: yy/mm/dd

Health & Safety Notice:

DO NOT UNPACK UNTIL packing date + 5 days